## list
Subject | Description and Last update | Latest Update
AAMC-WINDOWSCLUSTER.MBAMSQLCLUSTER-Others | We have received a p2 alert for AAMC-WINDOWSCLUSTER.MBAMSQLCLUSTER-Others . TT: 5706381 We have coordinated with Abdulla in cc and got the confirmation that cluster failover happened due to which we have received this alert. We tried to check the event logs in the servers but yesterday’s event was not available. Currently this ticket is open state in our bin.we have received one more alert (TT : 5718289 )today for which we have sent the mail to core team to check on it. Now both the cluster nodes are in up state, but the ticket is not resolving. | Mail dropped to core team as server and node details were not present in Mwatch ticket.Excellence team has updated as "Also metric collection stopped on 22nd of Jan. Requesting to check at Agent Server Side (MSSQL Windows Cluster platform) for the same."
P2 Percent Free Space alerts for prod oracle DB table spaces | As per comments from Customer "Not generate alerts for archive tablespace". Joann to check and update it. | As discussed in call with AAMC DB team, we need to check on modifying the threshold set. We will have to check on this with Shiv and set up monitoring according to the expectation from customer
SQL parameters should be enabled for monitoring | Metrics logs has been sent to the core team. SQL Access is given by Blake. SOP - Schema & Object level Export & Import has to be removed. Agent configuration file have been provided to core team. Core team is working on the same Sql SOP: When checked we were not able to perform few queries that was mentioned in the sop given by customer, So Vinod said he will be talking with Mayuri as those queries can be performed only with admin credentials. Call with customer has been scheduled to discuss on access part. Logs has been shared to Vijay to check on the errors. | As per the update from core team, they are able to enable monitor for only one server, whereas for another they cant.Then while checking with SME's , we don’t have instance access for both the servers.So dropped a mail to customer for giving the access. Need to get an update from customer and get back to core team. Need to check the other instances whether metrics has been enabled except two servers for which access is not there. Vijay-core team is checking- follow up and get update
RMAN backup failure and SDS application process | Shiv have provided the script for RMAN and MRP but, the dba_user for “MWatch” is not found in pdl8-oracdb-01.02/03 servers We will check with customer to get this dba_user created for prod local Databases. SR ticket raised for the same to provide dba_user access for mwatch user. It is mentioned by Liming that no dba_user access is required to ckeck for mrp process. | We have asked core team regarding the Mwatch user access permission which needs to be asked from customer. Sharaf has provided the details. Need to follow up with Shiv to proceed further.
Socket timeout alerts - RE: Socket timeout threshold -- TT: 6120740 | Core team to provided the requested details regarding response code 50 and the list of URL's for which we are getting 404 response code. | Analysis has been by core team.Team to coordinate with kumar to take it further to customer. Also we have dropped mail to shabana with analysis and to help us further. Kindly follow up.
RE: jump box architecture | to give the overview on connecting and accessing systems via jumpbox | meeting has been scheduled on - Feb 12 @ 2:00pm EST.
Agent Availability down for “ster-chadb-01v” | Ster-chatdb-01v server, Sterling residing asset shows down in Mwatch and WDCs as up and It got auto on boarded into Mwatch. | As informed, please check with Shabana to work on agaent down.This server is being monitored from both STr and WDC HQ .
AAMC- Dashboard | The business services for most of the servers has been updated using the report which saravanan has shared but still few more servers like windows, Linux and networks has to be updated. Mayuri informed us that we need to check with Saravana and get the details from customer | Kumar to get the details from customer
RE: AAMC-ActiveMQ monitoring attributes | Test Device details requested to Customer with requirement . | Request # IN00244164 has been raised to build an activeMQ server in EVAL environment mirroring the hardware & software requirements as dvl8-activemq-01v.adm.aamc.org and provide us the below details to test the setup by bringing this in under monitoring.
RE: Device showing down in Dashboard TT: 6030504 | Reconfiguration has been done. But the monitoring for tablespace has not been enabled since they have onboarderd the DB freshly ,all the tablespace got discovered in HQ including the earlier decommissioned tablespace, should get confirmation on this. Team to check with Kumar / Gautham. | List has been compared and pending with kumar to follow up.
Volume Nearly full alert | We need to follow-up with kumar for updates in order to reply to Customer mail (Danait) | Pending with kumar
Mount Points –(RE: Prod Space issue -Urgent) | Wale has given list of servers for all environments to be monitored. NFS plugin deployment has to be done for enabling monitoring in MWatch. Check with Shabana and drop mail to core team regarding the requirement. Shabana shared the mount point details to Tahir. –Ticket is been created regarding this. TT# 6138667. | NFS mounts has been done by core team except servers which are down
RE: SR - IN00241887 | False Alert-ASM Disk Monitoring - SR created for database access – We now have mtoradba access for Non-Prod server instances through OEM -Ticket has been resolved in RF by Gautham stating-I will check with management and raise a new ticket for the DB access.(read only). Check with DB-Oracle Team. –Team-Priya will be sharing the document to validate . To be discussed more in detail with Customer on today's call. Team to check feasibility for Disk level monitoring. | We have to coordinate internally for the threshold configuration
Oracle SOP Validation | For EXPDP/IMPDP task, Shiv asked us that weather we are been asked to use the oracle schema EXPIMP. So we will be in need of the credential to get the task done. | Need to coordinate with customer on access
Netforum SOP | George has shared SOP with few updates but the escalation details is not included(email id). Steve should confirm on that. Also should check with Gautham on submitting the outage tickets. Kumar have schedule a meeting for the same with George on 13th Jan. Details and issue in email to ticket conversion from OMD has been notified to Customer through mail after the call. Priority details has been shared to Customer. | We have asked george whether we can we can disable the flap up email notification which can help us avoiding duplicate tickets creation in our MWatch (for email to ticket conversion). George to reply on that.
Data-guard monitoring- Customer want us to monitor the Data guard using MWatch plugin or script directly instead of relying on email to ticket conversion. Need to check with Shiva for script before meeting with customer. | Redo log : Email to ticket configuration completed . Need to coordinate with customer to check the functionality. | We have asked core team regarding the Mwatch user access permission which needs to be asked from customer.
| For MRP Process : mrp process monitoring for standby DBs sync issues - Core team need to discuss with shiva | We have sent mail for liming regarding the access requirement to onboard the insatnces and set up monitoring. Shiv updated that we will need few more access grants for mwatch user to set up monitoring. We will send the list of grants required to Liming and get access for the same.
SCP to be enabled for oracle Linux servers | We require SCP to be enabled for oracle servers in order to get the reports generated from remote servers to our local system. Shabana have replied stating that " You could file a ticket with Mwatch team to download the report from the server and you can share it to the customer for time being. I will check on other options as well and let you know If I come across any. | Shabana will respond
Packet loss and Latency alerts | No Updates | Kindly check with kumar on this.
The cisco Alerts | we have asked core team to monitor the service in the left out servers. | core team to work on it.
Onboarding SQL instances TT#6140366 | mssql cluster server instances are not collecting metrics properly. | The metrics has been enabled but it is not getting collected. Need to enable performance count. Check with Vinod.
Oracle tasks transition report | Need to provide the details(OracleDB Name/IP, Instance Name, port number) to core team for monitoring configurations for MRP process an RMAN Backup separately | Need More previliges to execute the SOP.
Unable to log in to the server -enl8-sauce-01v.adm.aamc.org | We are unable to log in to the server “enl8-sauce-01v.adm.aamc.org”. The server exits as soon as it launches. | The issue is still the same. We had screen sharing session with core team.We are checking with customer to open the port for this server from WDC. Pending with customer end
RE: Description for CTI Application--TT:# 6060310 | Core team have requested from Saravanakumar to provide the centralized path of the file which contains the priority table. That path will be taken as CI description for Each incident which are triggered from QM notification. They are awaiting for path, please get the centralized path to perform the required | centrallised path has been provided. Team to proceed with the configuration
Monitoring of WLC - 10.210.4.5 TT# 6119115--TT# 6142553 | As informed by team, As validated both 10.210.4.5 IP address and 10.210.4.15 IP address are resolving to same Host name, ie its resolving to host name WDC-WLC5520-01. And the device with this host WDC-WLC5520-01 with IP 0.210.4.15 is under MWatch monitoring. | Whecn checked with core team
Require details to update CMS application SOPs | Session to be set up and invite to be sent | We need to contact concerned person
MOM - Discussion on the Magento SOP's | need to update details for magento team
Telnet issue for enl8-sauce-01v (TT:#IN00244475) | Telnet is not happening by port 22 for “enl8-sauce-01v.adm.aamc.org” from WDC instance 10.54.6.114. While checking, we are seeing error as “Connection refused”. SR has been raised for the same. | Customer is working on it. Awaiting update from Customer.
RE: Not able to login to MWatch EMS server enl8-mtvcenter-01v | We have raised a ticket (IN00244419) and notified Customer about the same. | Need to check with customer and update Prajish
Tickets in open State- 5717273, 5717206 | we have dropped mail to customer to provide access.we don’t have root access to the servers. | customer
RE: Certificate Monitor _efttest.aamc.org--TT# 6123938 | we had request to monitor below certificates -Monitoring script is fine.Auto diagnosis not frasible in MWatch since the script is in Power shell | Kumar to provide confirmation,

## Latest
Subject | Update | Pending with
Not able to login to MWatch EMS server and enl8-mtvcenter-01v | discrepancy in Prajish account. Jude has notified that IP has been changed in NMS server. Prajish updatesd that it is a typographical error and asked them to rest it. Also Jude has requested some details on resolving the prajish ID login issue for enl8-mtnms servers. dont reply to judes mail ask sharaf or prajish to reply for the email(informed by the core team). | FS TEam
monitoring vmware - UCS Monitoring - Equipment Monitor MIB | Kumar has shared the required MIB file details to Sharaf as per request. Core team to work on it. Core team/Satya has updated saying that they require particular OID’s to be added into Monitoring. Kumar had dropped mail to dilip to provide the details.Kumar has asked Dilip for the OID details. Siraj has shared the OIDs. | Dhilip
Mornitoring details for Network devices-­TT# 6159401 | IP address has been provided,core team to add. Core team has to configure: For the device WDC-ENTASA-01.mgmt.aamc.org -10.54.37.10 For the device WDC-ENTASA-02-2140.mgmt.aamc.org - 10.54.37.11 and provide the information of type of monitoring configured the same.We had screen sharing session with Sharaf. WDC-ENTASA-01.mgmt.aamc.org -10.54.37.10 is not into monitoring.Core team need to check on this | Core Team
Oracle instances to be on boarded TT: 6145077 | Agent to be restarted in servers. Three server agents are restarted. Need to check with core team on the visibility of instances details in hyperic and onboard the same. If so we can proceed with restarting and on boarding other instances post informing customer on the same. | Core team/FSTeam
NFS plugin deployment procedures TT#6138667 | NFS plugin deployment - list has been provided to core team. | Core team
Certificate Monitor _efttest.aamc.org--TT# 6123938 | to proceed with the monitoring script alone or not? Check with Ramdass. | Kumar
ASM disk monitoring - Percent free alerts--TT# 6154376 | Option available to enable metric and set threshold for each individual disk Groups. Need to get confirmation on setting up threshold for monitoring. Shiv has given the query to execute to get the details of the disk.
SQL Server SOP | Update from Vinod: The instances are either analysis services/reporting services which we will not be able to access without ‘sysadmin’ privilege. Also we will have very limited scope on these services in terms of Database support(L2/L3 as well). We just need to onboard those instances as windows assets in Mwatch to monitor availability if required by customer - We need to upgrade the MSSQL solution to monitor the below instances as windows service since the current solution does not have the feasibility to monitor - Need to check with kumar to get the solution upgraded. | FSTeam
ADZ14-MBMDB-01V\SQLAZ and ADZ14-MBMDB-02V\SQLAZ - Need to check with blake to provide similar access which we have on other SQL instances.
UCS devices to be on boarded | Template has been shared for the devices to be onboarded | Core team
Event ID monitor for cmsts2.mcat.local | event ID monitoring for the asset cmsts2.mcat.local has to be set up. We have requested customer to deploy few configuration files in server. Update from givens: A CR is being drafted to implement this change. Also, this work has to be coordinated with the MCAT team. Will update thread when CR is submitted. | customer
RE: Mindtree to monitor backup jobs | Mtlocaladmin password is not available. Viji requested for a new account. Check with Kumar for the same | kumar
RE: Monitoring of WLC - 10.210.4.5 TT# 6119115--TT# 6142553 | Kumar has given approval to proceed and mention 10.210.4.5 as Management IP | core team
URLS to be mapped under correct IP address (enl8-mtvcenter-01v/enr8-mtvcenter-01v ) . | We can see that for few URL’s the IP Address is showing as localhost along with enl8-mtvcenter-01v and enr8-mtvcenter-01v . Kindly map the URL’s based in its respective IP address(enl8-mtvcenter-01v/enr8-mtvcenter-01v ). As customer is confused with the localhost IP address. Please find the attached sheet. Sharaf is working on the issue and will provide an update shortly. | core team
RE: Discrepency in New Relic application monitoring | We had received few alerts for New relic, when checked the total duration was more than a month. We are checking with Jeyadev and excellence team on the issue. Tickets has been resolved by us. | core team
RE: Error - Mount Point Configuration | List of threee mount points to be configured has been provided | core team
RE: Threshold settings for MT servers--TT# 6169891--TT# 6173180 | threshold modification to be done for CPU and memory utilization for mt servers | core team
Data guard - Redo log apply lag and mrp process monitoring | Monitoring to be enabled as per the requirement | Core team
VPN URL Monitoring | details has been provided to core team | core team
RE: UCS devices to be on boarded - TT : 6163475 | CI Name and category to be updated | core team
Email to ticket conversion -Sub category name - APM_STM | As we are keeping APM_ STM as the Subcategory name for most of the “Email to ticket” conversion. We are unable to categorize the CTI application, Jabbar & New relic etc.. alerts in the report | core team
RE: Request ticket for onboarding 2 servers--TT# 6170000 | Servers ADL4-AWSMIG-02V (10.54.4.152) and ADL4-AWSMIG-01V are onboarded. Core team has enabled the sslrdp for both. Need to check to enable target user with Mayuri/customer | FST Team
RE: Paypal Outage Report | Splunk mails to be configured to trigger mails to Shs.Fst@mindtree.com DL and priority and process details to be discussed | FST Team
Re: AAMC - Audit reports(Hyperic,NMS,URL,VCenter and MSSQL)-December,2019 TT#6148267 | Report o be sent by excellence team | excellence team
mcat reg service - Sue needs to update | Need to check with karan | FST Team
monitoring in place for the below attached network devices -6159401 | The IP has been onboarded management IP, need to share the criticality of the device | FST Team
Unable to find the server details in the ticket -6153101 | As per the report shared by vinoth,it has been confirmed that Adz-14 is the respective server for the cluster which we received an alert . Core team has updated that they couldn't find any clusters inside the server. | FST Team